## Machine List
[12 empty] | Stock Item | Plug Description | Plug Reference
[12 empty] | CXN163P240P | 16A 2P+E 230V (3-Pin) Plug | A
[12 empty] | CXN323P240P | 32A 2P+E 230V (3-Pin) Plug | B
[12 empty] | CXN163P110P | 16A 2P+E 115V (3-Pin) Plug | C
[12 empty] | CXN323P110P | 32A 2P+E 115V (3-Pin) Plug | D
[12 empty] | CXN164P415P | 16A 3P+E 415V (4-Pin) Plug | E
[12 empty] | CXN324P415P | 32A 3P+E 415V (4-Pin) Plug | F
[12 empty] | CXN165P415P | 16A 3P+N+E 415V (5-Pin) Plug | G
| JASIC & Weld Star Machine Range |  | Machine Input Supply Voltage (V) | Machine Ieff (A) |  |  | Rated input (kVA) * |  |  | Recommended Mains Plug |  | CXN325P415P | 32A 3P+N+E 415V (5-Pin) Plug | H
[12 empty] | 0013-3144 | 63A 3P+E 415V (4-Pin) Plug | I
|  |  |  | 115v | 230v | 415v | 115v | 230v | 415v |  |  | 0013-3138 | 63A 3P+N+E 415V (5-Pin) Plug | J
| Jasic Pro Range MMA | JA-140 | 230 |  | 15.5 |  |  | 6 |  | A
|  | JA-160PFC | 115/230 | 21 | 17.6 |  | 4.5 | 7.1 |  | D | B
|  | JPA-160PFC | 95 ~ 265 | 18.3 | 12.2 |  | 3.7 | 7 |  | D | A
|  | JA-180DV | 115/230 | 19.7 | 17.8 |  | 5.2 | 8.2 |  | D | B
|  | JPA-180 (SE) | 230 |  | 21.3 |  |  | 8.3 |  | B
|  | JA-200 | 230 |  | 22.4 |  |  | 9.4 |  | B
|  | JA-180PFC | 95 ~ 265 | 15.2 | 13.4 |  | 3.2 | 5.8 |  | C | A
|  | JA-200PFC | 95 ~ 265 | 13.4 | 12.7 |  | 3.5 | 7.2 |  | C | A
|  | JA-401/402 | 415 |  |  | 19.6 |  |  | 18.2 | F or H
| EVO MMA | EA-160PFC | 95 ~ 265 | 14.4 | 11.3 |  | 5 | 7.5 |  | C | A
|  | EA-200PFC | 95 ~ 265 | 15.6 | 14.9 |  | 5.5 | 10 |  | C | A
| Jasic Pro Range TIG | JT-180 | 230 |  | 16.5 |  |  | 7.1 |  | A | A
|  | JT-180DV | 115/230 | 18.5 | 14.2 |  | 4 | 7 |  | D | A
|  | JPT-180 (SE) | 230 |  | 16.5 |  |  | 7.1 |  | A
|  | JT-200 | 230 |  | 18.9 |  |  | 8.2 |  | B
|  | JT-200PDV | 115/230 | 25.7 | 21 |  | 5 | 8.2 |  | D | B
|  | JT-200P-PFC | 95 ~ 265 | 27.7 | 14.2 |  | 4 | 6 |  | D | A
|  | JT-200DS | 230 |  | 16 |  |  | 6.9 |  | A
|  | JT-200A | 230 |  | 20 |  |  | 9.4 |  | B
|  | JT-200D | 230 |  | 18 |  |  | 9.6 |  | B
|  | JT-202A | 230 |  | 16 |  |  | 6.9 |  | A
|  | JT-202A WC | 230 |  | 16 |  |  | 6.9 |  | A
|  | JT-202D | 230 |  | 16 |  |  | 6.9 |  | A
|  | JT-315D | 415 |  |  | 13 |  |  | 13.1 | E or G
|  | JT-300P | 415 |  |  | 7.2 |  |  | 11 | E or G
|  | JT-300P WC | 415 |  |  | 7.2 |  |  | 11 | E or G
|  | JT-315MWD | 415 |  |  | 10 |  |  | 14 | E or G
|  | JT-315MWD WC | 415 |  |  | 10 |  |  | 14 | E or G
|  | JT-400P | 415 |  |  | 14 |  |  | 18 | E or G
|  | JT-500D | 415 |  |  | 23 |  |  | 21.5 | F or H
| EVO TIG | ET-200 | 95 ~ 265 | 14.9 | 9.8 |  | 5 | 7 |  | C | A
|  | ET-200P | 95 ~ 265 | 14.9 | 9.8 |  | 5 | 7 |  | C | A
|  | ET-200PACDC | 94 ~ 265 | 16.1 | 10.6 |  | 5 | 7 |  | C | A
|  | ET-200PACDC WC | 95 ~ 265 | 16.1 | 10.6 |  | 5 | 7 |  | C | A
| Jasic Pro Range MIG | JM-160C | 230 |  | 15.2 |  |  | 5.9 |  | A
|  | JM-200C | 230 |  | 21 |  |  | 8 |  | B
|  | JM-200CS | 230 |  | 21 |  |  | 8 |  | B
|  | JM-200PFC | 230/115 | 20.1 | 14.8 |  | 4.2 | 5.8 |  | D | A
|  | JM-202C | 230 |  | 24 |  |  | 8.8 |  | B
|  | JM-250/252C | 230 |  | 28.4 |  |  | 11 |  | B
|  | JM-350/352C | 415 |  |  | 13.7 |  |  | 15 | E or G
|  | JM-250S | 415 |  |  | 9.1 |  |  | 8.4 | E or G
|  | JM-250P | 230 |  | 29.2 |  |  | 9.1 |  | B
|  | JM-272S | 230 |  | 28.9 |  |  | 12.1 |  | B
|  | JM-352S | 415 |  |  | 13.2 |  |  | 15 | E or G
|  | JM-352S WC | 415 |  |  | 13.2 |  |  | 15 | E or G
|  | JM-450S | 415 |  |  | 27 |  |  | 18.7 | F or H
|  | JM-450S WC | 415 |  |  | 27 |  |  | 18.7 | F or H
|  | JM-350P | 415 |  |  | 21.7 |  |  | 21.1 | F or H
|  | JM-500S | 415 |  |  | 28.6 |  |  | 24.2 | F or H
|  | JM-500P | 415 |  |  | 27.2 |  |  | 26.7 | F or H
| EVO MIG | EM-160C | 95 ~ 265 | 14.5 | 10.4 |  | 4.5 | 6.5 |  | C | A
|  | EM-200CT | 95 ~ 265 | 17.4 | 13.5 |  | 5.5 | 8.5 |  | D | A
|  | EM-200CT | 95 ~ 265 | 17.4 | 13.5 |  | 6.5 | 11.5 |  | D | A
|  | EM-250CT | 95 ~ 265 | 19 | 18.5 |  | 9 | 15.5 |  | D | B
| Jasic Pro Range Plasma | JP-45P | 230 |  | 20 |  |  | 7.8 |  | B
|  | JP-45PWV | 96 ~ 265 | 17 | 13.5 |  | 3.6 | 5.3 |  | D | A
|  | JP-60/61 | 415 |  |  | 9.5 |  |  | 10.8 | E or G
|  | JP-80/81 | 415 |  |  | 14 |  |  | 15.8 | E or G
|  | JP-100 | 415 |  |  | 17 |  |  | 20 | F or H
|  | JP-101 | 415 |  |  | 17 |  |  | 18.8 | F or H
|  | JP-160 | 415 |  |  | 40.9 |  |  | 43 | I or J
| EVO Plasma | EP-45 | 95 ~ 265 | 20 | 11.5 |  | 3.6 | 5.3 |  | D | A
|  | EP-45SC | 95 ~ 265 | 26 | 15 |  | 8 | 6.2 |  | D | A
| WELD STAR Range |  | Supply Voltage | Machine Ieff (A) |  |  | Rated input (kVA) * |  |  | Recommended Mains Plug
| Weld Star MIG Range | WS-MU401 | 95 ~ 265 | 17.5 | 14 |  | 4.5 | 7.5 |  | D | A
|  | WS-350P | 415 |  |  | 11.3 |  |  | 7.8 | E or G
|  | WS-350PWC | 415 |  |  | 11.3 |  |  | 7.8 | E or G
| Weld Star Plasma Range | WS-PC40-230 | 230 |  | 16 |  |  | 5.2 |  | A
|  | WS-PC40-DV | 115/230 | 20.4 | 16 |  | 3.8 | 5.2 |  | D | A
|  | WS-PC65 | 415 |  |  | 17.1 |  |  | 12.4 | F or H
|  | WS-PC120 | 415 |  |  | 26 |  |  | 23.5 | F or H
Please Note:
* When sizing the kVA supply rating of a generator, increase the welding or cutting machine's kVA rating by 1/3 to ensure that the generator can meet the demand of the welding set.
Jasic & Weld Star welding and cutting equipment are considered to be industrial equipment and a 13A plug & supply are not considered appropriate supplies.
To obtain optimum welding performance and reliability from your Jasic or Weld Star machine it’s very important that the mains input supply and mains plug rating are correctly specified and matched.
Ieff - is an electrical rating that is used for welding and cutting equipment to rate the mains plug sizing and input supply of your welding machine. So, for example, if the welding machine has an Ieff of 15A then you need to fit and use a 16amp mains plug and supply!
For further Jasic product technical specifications, please see the relevent product operating manuals.
* When sizing up the kVA supply rating of a generator, increase the welding or cutting machine's kVA
rating by 1/3 to ensure that the generator can meet the demand of the welding set.
Scroll down
Scroll up

## Mains Plugs
Stock Item | Plug Description | Plug Reference | Stock Item | Plug Description | Plug Reference
CXN163P110P | 16A 2P+E 115V (3-Pin) Plug | C | CXN323P110P | 32A 2P+E 115V (3-Pin) Plug | D
Stock Item | Plug Description | Plug Reference | Stock Item | Plug Description | Plug Reference
CXN163P240P | 16A 2P+E 230V (3-Pin) Plug | A | CXN323P240P | 32A 2P+E 230V (3-Pin) Plug | B
Stock Item | Plug Description | Plug Reference | Stock Item | Plug Description | Plug Reference | Stock Item | Plug Description | Plug Reference
CXN164P415P | 16A 3P+E 415V (4-Pin) Plug | E | CXN324P415P | 32A 3P+E 415V (4-Pin) Plug | F | 0013-3144 | 63A 3P+E 415V (4-Pin) Plug | I
Stock Item | Plug Description | Plug Reference | Stock Item | Plug Description | Plug Reference | Stock Item | Plug Description | Plug Reference
CXN165P415P | 16A 3P+N+E 415V (5-Pin) Plug | G | CXN325P415P | 32A 3P+N+E 415V (5-Pin) Plug | H | 0013-3138 | 63A 3P+N+E 415V (5-Pin) Plug | J